## W & F
HCID | act FLC/EC | Location | UserLabel | Type | TestDate | Ver | Test | Res | Prio | Issue | Findings | Task | Release
102034 | 10.151.20.16 | OUE | OUE-R-1 | WDM | 20250827 | 5.92 | 0.6 | 1 | WARNING | System Identity | wrong SID found: found CSM-R-1 vs userlabel OUE-R-1 | Verify correct Identity and fix SID or <customer>_hosts.xls. | V13.0.4 GGG15-02J
102034 | 10.151.20.16 | OUE | OUE-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-0, MJ-7, MN-0, WR-1 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
106267 | 10.151.20.10 | HOU | HOU-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-0, MJ-8, MN-3, WR-5 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
106267 | 10.151.20.10 | HOU | HOU-R-1 | WDM | 20250827 | 5.92 | 5.5.0 | 1 | WARNING | Read Remote Inventory | some UNKNOWN interface 2/17/X5 (PN: 1AB390930014, SN: ALLU17--CNDG520006) found | not applicable | V13.0.4 GGG15-02J
106267 | 10.151.20.10 | HOU | HOU-R-1 | WDM | 20250827 | 5.92 | 5.5.0 | 2 | WARNING | Read Remote Inventory | some UNKNOWN interface 2/17/X6 (PN: 1AB390930014, SN: ALLU17--CNDG520005) found | not applicable | V13.0.4 GGG15-02J
111687 | 10.151.15.21 | PK5 | PK5-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/05 02:37:48 10GBE LANLOS 2/12/X1 In - Loss of signal 11QPE24 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
111687 | 10.151.15.21 | PK5 | PK5-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-1, MJ-0, MN-5, WR-110 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
111687 | 10.151.15.21 | PK5 | PK5-1 | WDM | 20250827 | 5.92 | 5.6.9 | 1 | FAILURE | Check ONET Amps FW | AHPLG-1-1-3-0, PN (8DG59945AAAB01), SN (EZ1221A0069) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
111687 | 10.151.15.21 | PK5 | PK5-1 | WDM | 20250827 | 5.92 | 5.6.9 | 2 | FAILURE | Check ONET Amps FW | AHPLG-1-1-15-0, PN (8DG59945AAAB01), SN (EZ1212A0168) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
119674 | 10.151.13.21 | VEL | VEL-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/06/24 10:46:22 1GBE LANLOS 1/17/C1 In - Loss of signal 11DPM12 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
119674 | 10.151.13.21 | VEL | VEL-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | CA SA 25/06/24 10:50:13 1GBE LANLOS 1/17/C2 In - Loss of signal 11DPM12 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
119674 | 10.151.13.21 | VEL | VEL-1 | WDM | 20250827 | 5.92 | 5.2.1 | 3 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-2, MJ-0, MN-0, WR-14 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
119674 | 10.151.13.21 | VEL | VEL-1 | WDM | 20250827 | 5.92 | 5.6.9 | 1 | FAILURE | Check ONET Amps FW | AHPLG-1-1-11-0, PN (8DG59945AAAB01), SN (EZ1216A0310) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
122344 | 10.151.12.21 | GAL | GAL-1 | WDM | 20250827 | 5.92 | 5.5.1 | 1 | WARNING | Check cards in proper operational state | card 3/16 (11DPM12) operational Down | confirm the operational state of cards together with customer | V13.0.4 GGG15-02J
122344 | 10.151.12.21 | GAL | GAL-1 | WDM | 20250827 | 5.92 | 5.6.9 | 1 | FAILURE | Check ONET Amps FW | AHPLG-1-1-15-0, PN (8DG59945AAAB01), SN (EZ1212A0047) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
122344 | 10.151.12.21 | GAL | GAL-1 | WDM | 20250827 | 5.92 | 5.6.9 | 2 | FAILURE | Check ONET Amps FW | AHPLG-1-1-10-0, PN (8DG59945AAAB01), SN (EZ113820179) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
122344 | 10.151.12.21 | GAL | GAL-1 | WDM | 20250827 | 5.92 | 5.6.9 | 3 | FAILURE | Check ONET Amps FW | AHPLG-1-1-7-0, PN (8DG59945AAAB01), SN (EZ1220A1833) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
122967 | 10.151.20.2 | BRL | BRL-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/06/03 13:06:21 1GBE LANLOS 2/15/C5 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
122967 | 10.151.20.2 | BRL | BRL-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/18 08:20:59 1GBE LANLOS 1/14/C9 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
122967 | 10.151.20.2 | BRL | BRL-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 3 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-2, MJ-0, MN-3, WR-14 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
122967 | 10.151.20.2 | BRL | BRL-R-1 | WDM | 20250827 | 5.92 | 9.7.4 | 1 | FAILURE | Check uptime of controller boards | uptime of ECA is too high: 533 days (trigger 497) | OCS: mentioned controller board needs to reset via ZIC in the next days -> 'init board'. WDM: cold reset main shelf ECs, standby EC should be checked for full redundancy prior to cold resetting the active EC. Subtending shelves are not affected. See also linked MOP. | V13.0.4 GGG15-02J
129465 | 10.151.20.23 | POY | POY-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-0, MJ-1, MN-2, WR-0 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
130549 | 10.151.17.21 | TON | TON-1 | WDM | 20250827 | 5.92 | 5.6.9 | 1 | FAILURE | Check ONET Amps FW | AHPHG-1-1-7-0, PN (8DG59245AAAB02), SN (EZ1324A2028) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
137482 | 10.151.20.14 | LKO | LKO-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-0, MJ-1, MN-1, WR-33 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
140398 | 10.151.14.21 | MAG | MAG-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/05/23 09:02:10 EQPT REPLUNITMISSMOD 1/10/C16 - Pluggable Module missing 11QP | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
140398 | 10.151.14.21 | MAG | MAG-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-1, MJ-1, MN-0, WR-9 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
140398 | 10.151.14.21 | MAG | MAG-1 | WDM | 20250827 | 5.92 | 5.6.9 | 1 | FAILURE | Check ONET Amps FW | AHPLG-1-1-6-0, PN (8DG59945AAAB01), SN (EZ120520162) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
140398 | 10.151.14.21 | MAG | MAG-1 | WDM | 20250827 | 5.92 | 5.6.9 | 2 | FAILURE | Check ONET Amps FW | AHPLG-1-1-3-0, PN (8DG59945AAAB01), SN (EZ120420208) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
149762 | 10.151.20.19 | PDF | PDF-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/05/23 11:05:55 1GBE LANLOS 2/11/C3 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
149762 | 10.151.20.19 | PDF | PDF-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-1, MJ-1, MN-3, WR-1 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 09:00:38 1GBE LANLOS 1/15/C1 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 09:43:39 1GBE LANLOS 1/15/C2 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 3 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 09:52:44 1GBE LANLOS 1/15/C3 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 4 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 10:03:21 1GBE LANLOS 1/15/C4 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 5 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 10:04:10 LAG LAGLOS 1/15/LAG1 - Link aggregation group Loss of Signal | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 6 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 10:04:11 1GBE LANLOS 1/15/C5 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164339 | 10.151.20.6 | FOA | FOA-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 7 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-6, MJ-4, MN-0, WR-4 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
164831 | 10.151.20.21 | PK5 | PK5-R-1 | WDM | 20250827 | 5.92 | 5.5.1 | 1 | WARNING | Check cards in proper operational state | card 2/12 (11DPM12) operational Down | confirm the operational state of cards together with customer | V13.0.4 GGG15-02J
164831 | 10.151.20.21 | PK5 | PK5-R-1 | WDM | 20250827 | 5.92 | 5.5.1 | 2 | WARNING | Check cards in proper operational state | card 3/14 (11OPE8) operational Down | confirm the operational state of cards together with customer | V13.0.4 GGG15-02J
164831 | 10.151.20.21 | PK5 | PK5-R-1 | WDM | 20250827 | 5.92 | 5.5.1 | 3 | WARNING | Check cards in proper operational state | card 3/15 (11OPE8) operational Down | confirm the operational state of cards together with customer | V13.0.4 GGG15-02J
168692 | 10.151.20.29 | WEE | WEE-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-0, MJ-7, MN-0, WR-20 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
169149 | 10.151.20.24 | RAV | RAV-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/05/12 14:35:43 10GBE LANLOS 2/17/X6 In - Loss of signal 11OPE8 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
169149 | 10.151.20.24 | RAV | RAV-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-1, MJ-18, MN-0, WR-5 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170462 | 10.151.20.1 | BLP | BLP-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 10:48:24 LAG LAGLOS 1/13/LAG1 - Link aggregation group Loss of Signal | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170462 | 10.151.20.1 | BLP | BLP-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 10:48:25 1GBE LANLOS 1/13/C1 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170462 | 10.151.20.1 | BLP | BLP-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 3 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 10:49:15 1GBE LANLOS 1/13/C2 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170462 | 10.151.20.1 | BLP | BLP-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 4 | WARNING | Summarize alarms and check for critical ones | CA SA 25/08/26 11:19:17 1GBE LANLOS 1/13/C3 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170462 | 10.151.20.1 | BLP | BLP-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 5 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-4, MJ-2, MN-0, WR-2 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170655 | 10.151.20.12 | KON | KON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/06/24 09:00:41 1GBE LANLOS 2/13/C1 In - Loss of signal 11DPM12 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
170655 | 10.151.20.12 | KON | KON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-1, MJ-0, MN-0, WR-24 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
172281 | 10.151.20.20 | POI | POI-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-0, MJ-1, MN-1, WR-2 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
172281 | 10.151.20.20 | POI | POI-R-1 | WDM | 20250827 | 5.92 | 5.5.0 | 1 | WARNING | Read Remote Inventory | some UNKNOWN interface 3/11/C1 (PN: RA01, SN: NOK) found | not applicable | V13.0.4 GGG15-02J
172281 | 10.151.20.20 | POI | POI-R-1 | WDM | 20250827 | 5.92 | 5.5.0 | 2 | WARNING | Read Remote Inventory | some UNKNOWN interface 3/11/C2 (PN: RA01, SN: NOK) found | not applicable | V13.0.4 GGG15-02J
177860 | 10.151.20.26 | TON | TON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 1 | WARNING | Summarize alarms and check for critical ones | CA SA 25/07/01 09:23:14 1GBE LANLOS 1/16/C3 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
177860 | 10.151.20.26 | TON | TON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 2 | WARNING | Summarize alarms and check for critical ones | CA SA 25/07/01 09:24:05 LAG LAGLOS 1/16/LAG1 - Link aggregation group Loss of Signal | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
177860 | 10.151.20.26 | TON | TON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 3 | WARNING | Summarize alarms and check for critical ones | CA SA 25/07/01 09:24:05 1GBE LANLOS 1/16/C2 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
177860 | 10.151.20.26 | TON | TON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 4 | WARNING | Summarize alarms and check for critical ones | CA SA 25/07/01 10:09:44 1GBE LANLOS 1/16/C1 In - Loss of signal 11QCE12X | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
177860 | 10.151.20.26 | TON | TON-R-1 | WDM | 20250827 | 5.92 | 5.2.1 | 5 | WARNING | Summarize alarms and check for critical ones | Alarm Statistics: CR-4, MJ-2, MN-0, WR-4 | Check MTCG how to clear the alarms | V13.0.4 GGG15-02J
180355 | 10.151.16.21 | DUC | DUC-1 | WDM | 20250827 | 5.92 | 5.5.1 | 1 | WARNING | Check cards in proper operational state | card 2/13 (11OPE8) operational Down | confirm the operational state of cards together with customer | V13.0.4 GGG15-02J
180355 | 10.151.16.21 | DUC | DUC-1 | WDM | 20250827 | 5.92 | 5.6.9 | 1 | FAILURE | Check ONET Amps FW | AHPLG-1-1-7-0, PN (8DG59945AAAB01), SN (EZ120420051) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
180355 | 10.151.16.21 | DUC | DUC-1 | WDM | 20250827 | 5.92 | 5.6.9 | 2 | FAILURE | Check ONET Amps FW | AHPHG-1-1-10-0, PN (8DG59245AAAB02), SN (EZ1324A2072) needs to be upgraded to FW 1.1.4 | ONET FW 1.1.1 detected and needs to be updated to 1.1.4 | V13.0.4 GGG15-02J
189695 | 10.151.11.21 | NOU | NOU-1 | WDM | 20250227 | 5.73 | 5.2.4 | 1 | WARNING | Check SNMP trap destination | No appropriate SNMP trap destination found | Check SNMP connection between NE and Target Address | V13.0.4 GGG15-02J